# Clenergy Guide

## To Start a Charge

| Steps | Example |
| --- | --- |
| 1st Take the lead out the car and shut all doors and boot lid 2nd PLUG THE LEAD INTO THE CAR FIRST |  |
| 3rd plug the lead into the charge point |  |
| 4th Tap the RFID FOB on the reader or start the charge via the app. Ensure your fob serial number is linked to your account |  |

## To Stop a Charge

| Steps | Example |
| --- | --- |
| 1st Tap the RFID FOB on the reader or use the app |  |
| 2nd UNPLUG THE CAR FIRST |  |
| 3rd Push the cable into socket slightly and then a positive pull out |  |

## If the cable remains locked in the charge-point

| Steps | Example |
| --- | --- |
| Step One: Push the cable firmly into the socket |  |
| Step 2: Hold the touch button for a few seconds |  |
| Step 3: While holding the button give a positive pull |  |

## User / Charging problems

Call the 24/7/365 helpline on 0330 232 1111

You will need to quote the GGY reference on the charge point when you call ie: GGY029A

Web: www.essex.ac.uk